Micro Array
Error Analysis
Protein Interaction Map
Integration & Visualization
Dr. Werner Van Belle
werner.van.belle@gmail.com
werner@onlinux.be
Department of Virology
University of Tromsø

---
I. Measurements (I)
Rat Operon Oligo Array S5 [31 May]
  - 1 plate measured with 1 gain
  - skip since non compatible with new measurements
KTH Rat 27k Oligo Micro Array
  - 3 plates same sample, 2 gains
    - 1.12 microgram [D4D1-Hi & D4D1-Lo]
    - 3.02 microgram [D5D2-Hi & D5D2-Lo]
    - 2.44 microgram [D6D3-Hi & D6D3-Lo]
  - 1 control plate, 2 gains [Control-Hi & Control-Lo]

---
Correlations
Between gains
Between channels
Between plates
Towards the control

---
Correlations
between hi and low gains

---
Correlations
between red and green channels

---
Correlations
between plates

---
Correlations
towards control

---
Measurement Errors

---
Sources of Errors
Chemical/Physical
  - Hybridization
  - Quenching -> Normalisation
Machine related
  - Dynamic range
  - Absolute errors
  - Relative errors

---
Hybridization

---
Controls

---
Hybridization
=> At least 70% hybridisation

---
Hybridization
Green
False
Upregulated
False
Downregulated
Red

---
Hybridization
False
Upregulated
False
Downregulated

---
Normalization

---
Quenching
Red/green dyes have different
reabsorption coefficients

---
Lo[w]ess Normalization
Reference: Taken from
http://www.ucl.ac.uk/oncology/MicroCore/HTML_Resource/Norm_Lowess1.htm

---
Lo[w]ess normalization
Lo gain set
of control plate

---
Lo[w]ess normalization
Hi gain set

---
Lo[w]ess Normalization
Numerical problems (log <<<)
Ignores measurement errors
  - 2/1 has clearly more measurement errors involved than 2000/1000
Normalizes the log ratio
  - Loose separate R and G values

---
Quantile Normalization

---
Gaussian PDF
Can be used to model many things
- measurement errors
- measurements

---
Gaussian CDF

---
PD Red/Green/Target
Define a target distribution

---
PD Red/Green/Target
a. we have a value for red [-4]
b. look up CD(a) based on the red distribution [10%]
c. find the position where CD(x)=10% based on the
   target distribution [1]
d. repeat this for the red and green channel of all dots

---
Quantile normalization

---
Dynamic Range & Clipping

---
Dynamic Range & Clipping
Low gains
  - lower sensitivity for low intensity spots
  - proper measurement of high intensity spots
High gains
  - higher sensitivity for low intensity spots
  - too high a sensitivity for higher intense spots
High intensity spots -> properly measured with low gain
Low intensity spots -> better measured with high gain

---
R/G Scatterplot Lo Gain

---
Clipping
Red
Clipping
Reduces all values larger
than 65535 to 65535
Will flatten out all differences
Green

---
Clipping
Red
Clipping
Remove any dot with
red or green > 60000
Measured
Control
Green

---
Absolute and Relative Errors

---
Absolute Errors
Every measured value is based on the real value, but with an unknown value added
with error 0.1
10 > [0.9, 10.1]
100 > [99.9, 100.1]
1000 > [999.9, 1000.1]

---
Absolute Error PD
Based on the PD of the error, a confidence interval that will cover at least 95% of the real values can be created
If we measure r,
then r will be within [m-0.4,m+0.4]
in 95% of the cases.

---
Micro Array Errors
Lorentz Distribution
Log(R/G)

---
Micro Array Errors
Lorentz Distribution
How to estimate width and height ?
Log(R/G)

---
Micro Array Errors
Lorentz Distribution
How to estimate width and height ?
Go Back to the control sample, and measure
the distribution
Log(R/G)

---
PD of High Gain

---
PD of High Gain
Gating ?
Critical Mass ?

---
PD of High Gain
Estimation no longer necessary.
We can use the measured distribution to
acquire a confidence interval.

---
Relative Errors
Every measured value is based on the real value, but multiplied with an unknown value
With r=0.1
10 > [9,11]
100 >[90,110]
1000 >[900,1100]

---
Errors
Red
Clipping
False
Upregulated
Area under
Clipping
Influence
Relative
Error
Measured
Control
Theoretical
Control
False
Downregulated
Absolute
Error
Green

---
Combined Error
Relative / Absolute errors
Estimating model parameters
  - not straightforward
  - model might not be correct
Express the error PD in function of the norm

---
Relative Errors
Green
Relative
Error
PDF of error at distance z
PDF of error at distance y
Red
PDF of error at distance x

---
PD / Dotnorm

---
Up/Down Regulation

---
PD of Difference

---
PD of Difference
a. if we have a real dot (13916,18852)
b. norm is 16384
c. probability that our error is < 4936
d. color is red; cdf = 0.975

---
PD of Difference
a. if we have a real dot (13916,18852)
b. norm is 16384
c. probability that our error is < -4936
d. color is blue; cdf = 0.025

---
PD of Difference
a. if we have a real dot (13916,18852)
b. norm is 16384
c. probability that our error is < -4936
d. color is blue; cdf = 0.025
Probability that the measurement error
ranges in [-4936:4936] = 0.95

---
PD of Difference
a. if we have a real dot (13916,18852)
b. norm is 16384
c. probability that our error is < -4936
d. color is blue; cdf = 0.025
Measured difference between R and G is 4936
Real difference is 4936+[-4936:4936] = [0:4936]

---
PD of Difference
Confidence interval expresses the possible real values based on the measurement.

---
PD of Difference
Multiple measurements lead to better estimate and smaller confidence interval

---
Reported Regulations

---
Validation

---
Validation
The Lo[w]ess set
  - 27648 containing 17411 NA&NA and 3359 NA|NA dots => 6878 remaining
  - 4007 pairs in agreement
The Quantile Normalized C.I. set
  - 1422 dots reported
Overlap
  - 311 dots
  - 1111 unique Q.C.I dots
  - 3696 unique lo[w]ess dots

---
Questions
Of those in the Lo[w]ess set but not in the Q.C.I. set
Q: Do we have a good argument why
we did not take them into account ?
A: They are too close to the expected
measurement error

---
Too close to error

---
Questions
Of those in the Q.C.I. set but not in the Lo[w]ess set ?
Q: Do we have a good argument
why we did take them into account ?
A: The Q.C.I. Method takes into account multiple dots,
which is information unavailable to the Lo[w]ess method.

---
Outside 95% C.I.

---
Questions
Of those dots that are both in the Lowes and Q.C.I. set:
Q: Do they report the same
qualitative regulation ?
A: 301 do, 10 don't => 3% mismatch

---
Differences

---
Gene Expression

---
Gene Expression

---
Involved Proteins

---
Influenced by/Influences
MK5 -> Multiple changes in gene expression
27000 gene expressions measured
Those that change will very likely influence other proteins
Which proteins are likely influenced by
our measured up/down regulations ?

---
The 'Involved' Game
Protein change will influence nearby proteins, which in turn ...
1.0
0.8
0.6
0.6

---
The 'Involved' Game
Multiple proteins changes will all influence their neighbors as well.
1.0
1.6
1.4
1.0

---
The 'Involved' Game
This network is iterated a number of times to expand the sphere of influence of all the altered gene expressions.
  - affected proteins will have higher numbers
Protein Interaction key mechanism for signal transduction
  - Protein Interaction Network as published by
Jean François Rual et al- Towards a Proteome Scale Map of the Human
Protein Protein Interaction Network – Nature 2005 – vol 437, p. 1173-1178

---
Involved Proteins by Rank

---
Involved Proteins by Rank

---
Involved Proteins by Rank

---
Involved Proteins Network

---
Involved Proteins Network
Red = Highest involvement; Blue = Lowest Involvement
Based on our lowest estimates for up/down regulation
Based on the high confidence set of protein interactions
Measured gene expressions are not listed

---
Involved Proteins Network

---
Involved Protein Network

---
Involved Protein Network

---
Conclusions
Novel micro-array analysis approach to measure quantitative regulation
  - Confidence intervals based on control sample
  - Confidence becomes greater with more dots
Network of Involved Proteins
  - Prediction based on network simulation
  - Visualization & Clustering